## pogsettings.xml-CSV
Version | 14.0.1f3
Name | Settings
NumElts | 11
Name | Loaded Settings File
Val | C:\Users\PAHS\Google Drive\PAHS - Tech Dev\Consultants\LabView\LV_TestSystem\PAHS Instrument - Nov 14 2015\SYSTEM2\pogsettings.xml
Name | Test Settings
NumElts | 10
Name | Dual Channel
Val | 0
Name | Air Pump
Val | 1
Name | Optical Drive
Val | 0
Name | Pulsed Drive
Val | 1
Name | Calibration Mode
Val | 0
Name | Test Sensor ID
Val | 3
Name | Test Chamber
Val | DA1
Name | Test Operator
Val | CK
Name | Sample Descriptor
Val | SYS2
Name | Notes
Val
Name | Calibration Settings
NumElts | 18
Name | Gas Conc. #0
Val | room air
Name | Gas Conc. #7
Val | 0
Name | Gas Conc. #6
Val | 8
Name | Gas Conc. #5
Val | 5.7
Name | Gas Conc. #4
Val | 4
Name | Gas Conc. #3
Val | 2
Name | Gas Conc. #2
Val | 1
Name | Gas Conc. #1
Val | 0
Name | Cal. Average
Val | 2
Name | Cal Averaging
Val | 0
Name | Tolerance #0
Val | 0
Name | Tolerance #7
Val | 0
Name | Tolerance #6
Val | 0
Name | Tolerance #5
Val | 0
Name | Tolerance #4
Val | 0
Name | Tolerance #3
Val | 0
Name | Tolerance #2
Val | 0
Name | Tolerance #1
Val | 0
Name | DataLogging Settings
NumElts | 4
Name | Data File Path
Val | c:\data
Name | Data File Duration (Minutes)
Val | 30
Name | Log Filename
Val | Test Log.csv
Name | Config Path
Val | C:\Users\PAHS\Google Drive\PAHS - Tech Dev\Consultants\LabView\LV_TestSystem\PAHS Instrument - Nov 14 2015\SYSTEM2
Name | DAQx Settings
NumElts | 4
Name | DAQ Device
Val | USBXDAQ
Name | Frequency
Val | 40
Name | Duty Cycle
Val | 10
Name | Analog Output Settings (Volts)
Dimsize | 4
Name | AO.Max
Val | 0.00937
Name | AO.Max
Val | 0.00438
Name | AO.Max
Val | 0.01116
Name | AO.Max
Val | 0.0114
Name | Capnometer Configuration
NumElts | 3
Name | Serial Port
NumElts | 14
Name | termination char
Val | 10
Name | End read on termination character?
Val | 0
Name | Enabled?
Val | 1
Name | VISA resource name
RefKind | VISA
Val | COM4
Name | baud rate
Val | 19200
Name | data bits
Val | 8
Name | parity
Choice | None
Choice | Odd
Choice | Even
Choice | Mark
Choice | Space
Val | 0
Name | stop bits
Val | 10
Name | flow control
Val | 0
Name | timeout (ms)
Val | 1
Name | Input buffer size
Val | 4096
Name | End write on termination character?
Val | 0
Name | XON Char
Val | 17
Name | XOFF Char
Val | 19
Name | Baro Pressure
Val | 760
Name | Device
Val | 2
Name | TE#1 Configuration
NumElts | 2
Name | Temp Set Point
Val | 18
Name | Serial Port
NumElts | 14
Name | termination char
Val | 10
Name | End read on termination character?
Val | 0
Name | Enabled?
Val | 1
Name | VISA resource name
RefKind | VISA
Val | COM6
Name | baud rate
Val | 115200
Name | data bits
Val | 8
Name | parity
Choice | None
Choice | Odd
Choice | Even
Choice | Mark
Choice | Space
Val | 0
Name | stop bits
Val | 10
Name | flow control
Val | 0
Name | timeout (ms)
Val | 1
Name | Input buffer size
Val | 4096
Name | End write on termination character?
Val | 0
Name | XON Char
Val | 17
Name | XOFF Char
Val | 19
Name | TE#2 Configuration
NumElts | 2
Name | Temp Set Point
Val | 18
Name | Serial Port
NumElts | 14
Name | termination char
Val | 10
Name | End read on termination character?
Val | 0
Name | Enabled?
Val | 1
Name | VISA resource name
RefKind | VISA
Val | COM3
Name | baud rate
Val | 115200
Name | data bits
Val | 8
Name | parity
Choice | None
Choice | Odd
Choice | Even
Choice | Mark
Choice | Space
Val | 0
Name | stop bits
Val | 10
Name | flow control
Val | 0
Name | timeout (ms)
Val | 1
Name | Input buffer size
Val | 4096
Name | End write on termination character?
Val | 0
Name | XON Char
Val | 17
Name | XOFF Char
Val | 19
Name | Runtime Settings
NumElts | 4
Name | InspSetTime
Val | 0
Name | ExpSetTime
Val | 0
Name | Exp. Gas Tank
Val | 0
Name | Insp. Gas Tank
Val | 0
Name | Chart X axis Timescale
Val | 20
Name | Pump
Val | 5